## Sheet1
CATEGORY 1
ITEM | LOCATION | GENSET DESCRIPTION | QTY | UNIT COST PER VISIT IN KSH. VAT EXCL | TOTAL COST PER ONE YEAR IN KSH. VAT EXCL.(3 VISITS) | TOTAL COST FOR TWO YEARS IN KSH.VAT EXCL.
NORTH EASTERN REGION
1 | Thika Arcade | 110kva, Perkins Engine, | 1
| Inspection | Gen Set Model-MBW110
Serial No.-
Engine Model-RJ-51175
Serial No.-U486116T
WESTERN REGION
2 | E / House Kisumu | 150kva, Perkins Engine | 1
| Inspection | Gen Set Model-P150E
Serial No.-03622A/001
Engine Model-YD-50517
Serial No-U703584D
MT KENYA REGION
3 | Nyeri Stima | 110kva, Perkins engine | 1
| Inspection | Gen Set Model-MBW110
Serial No.-
Engine Model-RJ-51175
Serial No-U486114T
4 | Diana Center
|  | 80kva, Perkins Engine | 1
| Inspection | Gen set Model-MW580
Serial No.-PEE2527202
Engine Model- RS51277
Serial No.U564067W
5 | Embu Office
|  | 65kva, Perkins Engine | 1
| Inspection | Gen set Model-MW65
Serial No.-PEE2526908
Engine Model- DK51280
Serial No.U340752W
6 | Meru Office | 80kva, Perkins Engine | 1
| Inspection | Gen set Model-MW80
Serial No.-PEE2526978
Engine Model- RS51277
Serial No.U564165W
7 | Kiganjo Substation | 80kva, Perkins Engineer | 1
| Inspection | Gen set Model-P80P1
Serial No.-FGWPEPP6LGTS6697
Engine Model- RS51294
Serial No.U485432T
CENTRAL RIFT
8 | Nakuru E/ House | 170kva, Deutz Engine | 1
| Inspection | Gen set Model-MSW170
Serial No.-VEE2478533
Engine Model-BF6M1013EC DEUTZ
Serial No.10896826
NORTH RIFT REGION
9 | Lessos Control Center | 80kva, Perkins Engine | 1
| Inspection | Gen set Model-P80P1
Serial No.-FGWPEPP6HTS06703
Engine Model-RS51294
Serial No.485434T
NAIROBI NORTH REGION
10 | Electricity House | 500kva, Cummins engine | 1
| Inspection | Gen set Model-CUMMINS
Serial No.-X114120333
Engine Model-KTA19-G4
Serial No.41163887
11 | Stima Club | 100kva, Perkins Engine | 1
| Inspection | Gen set Model-MSW110
Serial No.-PEE2526968
Engine Model-RJ51175
Serial No.U564372W
COAST REGION
12 | Mombasa E/House | 500kva, Cummins Engine | 1
| Inspection | Gen set Model-CDC-500KVA
Serial No.-X114120301
Engine Model-KTA19-G4
Serial No.41166595
13 | Rabai Control Center | 80kva, Perkins
| Inspection | Gen set Model-P80P1
Serial No.-FGWPEPP6CGTS06705
Engine Model-RS51294
Serial No.4485433T
TOTAL COST (KSHS)VAT EXCLUSIVE
0
CATEGORY 2
Single Major Service to be Done After 200 Hours or 12 Months (1 Year) Whichever is Earlier
ITEM | LOCATION | GENSET DESCRIPTION | QTY | LABOUR | TRANSPORT | AIR FILTER | FUEL FILTER | OIL FILTER | WATER FILTER | ENGINE OIL | COOLANT | TOTAL FOR ONE YEAR | TOTAL FOR TWO YEARS
NORTH EASTERN REGION
1 | Thika Arcade | 100kva, Perkins Engine, | 1
| Major Service | Gen Set Model-MBW110
Serial No.-
Engine Model-RJ-51175
Serial No.-U486116T
Last service;4.12.2018
generator reading;954
WESTERN REGION
2 | E / House Kisumu | 150kva, Perkins Engine | 1
| Major Service | Gen Set Model-P150E
Serial No.-03622A/001
Engine Model-YD-50517
Serial No-U703584D
Last service;23.11.2018
generator reading;1927
MT KENYA REGION
3 | Nyeri Stima | 100kva, Perkins engine | 1
| Major Service | Gen Set Model-MBW110
Serial No.-
Engine Model-RJ-51175
Serial No-U486114T
Last service;6.12.2018
generator reading;1108
4 | Diana Center
|  | 80kva, Perkins Engine | 1
| Major Service | Gen set Model-MW580
Serial No.-PEE2527202
Engine Model- RS51277
Serial No.U564067W
Last service;6.12.2018
generator reading;474
5 | Embu Office
|  | 65kva, Perkins Engine | 1
| Major Service | Gen set Model-MW65
Serial No.-PEE2526908
Engine Model- DK51280
Serial No.U340752W
Last service;5.12.2018
generator reading;513
6 | Meru Office | 80kva, Perkins Engine | 1
| Major Service | Gen set Model-MW80
Serial No.-PEE2526978
Engine Model- RS51277
Serial No.U564165W
Last service;5.12.2018
generator reading;833
7 | Kiganjo Substation | 80kva, Perkins Engine | 1
| Major Service | Gen set Model-P80P1
Serial No.-FGWPEPP6LGTS6697
Engine Model- RS51294
Serial No.U485432T
Last service;6.12.2018
generator reading;201
CENTRAL RIFT
8 | Nakuru E/ House | 170kva, Deutz Engine | 1
| Major Service | Gen set Model-MSW170
Serial No.-VEE2478533
Engine Model-BF6M1013EC DEUTZ
Serial No.10896826
generator reading;677
Last service;11.12.2018
NORTH RIFT REGION
9 | Lessos Control Center | 80kva, Perkins Engine | 1
| Major Service | Gen set Model-P80P1
Serial No.-FGWPEPP6HTS06703
Engine Model-RS51294
Serial No.485434T
Last service;7.12.2018
generator reading;86
NAIROBI NORTH REGION
10 | Electricity House | 500kva, Cummins engine | 1
| Major Service | Gen set Model-CUMMINS
Serial No.-X114120333
Engine Model-KTA19-G4
Serial No.41163887
Last service;12.12.2018
generator reading;61
11 | Stima Club | 100kva, Perkins Engine | 1
| Major Service | Gen set Model-MSW110
Serial No.-PEE2526968
Engine Model-RJ51175
Serial No.U564372W
Last service;4.12.2018
generator reading;587
COAST REGION
12 | Mombasa E/House | 500kva, Cummins Engine | 1
| Major Service | Gen set Model-CDC-500KVA
Serial No.-X114120301
Engine Model-KTA19-G4
Serial No.41166595
Last service;14.12.2018
generator reading;520
13 | Rabai Control Center | 80kva, Perkins
| Major Service | Gen set Model-P80P1
Serial No.-FGWPEPP6CGTS06705
Engine Model-RS51294
Serial No.4485433T
Last service;17.12.2018
generator reading;111
| TOTAL COST (KSHS)VAT EXCLUSIVE | [11 empty] | 0
CATEGORY 3
LIST OF SPARES
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Electricity starter | 1 | No
2 | Thermostat seal | 1 | No
3 | Water temperature switch | 1 | No
4 | Thermostat | 1 | No
5 | Complete water pump | 1 | No
6 | Inlet valve | 1 | No
7 | Outlet valve | 1 | No
8 | Valve spring | 1 | No
9 | Fuel injector nozzle | 1 | No
10 | Fuel return gasket | 1 | No
11 | Injector seal | 1 | No
12 | Fan belt | 1 | No
13 | Top radiator hose | 1 | No
14 | Bottom radiator hose | 1 | No
15 | Piston rings set std | 1 | No
16 | Con rod bearing std | 1 | No
17 | Valve guide | 1 | No
18 | Rocker cover gasket | 1 | No
19 | Complete fuel injector | 1 | No
20 | Complete gasket set | 1 | No
21 | Oil pressure switch | 1 | No
22 | Pump, fuel feed | 1 | No
23 | Stop solenoid | 1 | No
24 | Oil pump | 1 | No
25 | Starting relay(solenoid) | 1 | No
26 | VALVE SEAL | 1 | No
27 | Inlet valve guide | 1 | No
28 | Outlet valve guide | 1 | No
29 | Fan, cooling | 1 | No
30 | ELEMENT SUB ASSY | 1 | No
31 | Starter Assy | 1 | No
32 | Solenoid &Nut set | 1 | No
33 | Switch Assay, thermo | 1 | No
34 | Switch, pressure | 1 | No
35 | ARMATURE SET | 1 | No
36 | Stator ASSY | 1 | No
37 | Radiator bracket | 1 | No
38 | Exaust replacement | 1 | No
39 | Rectifier bridge | 1 | No
40 | Relay 240 v-panel | 1 | No
41 | Contactor coil panel | 1 | No
42 | Electric card module | 1 | No
43 | relaye 12V-panel 70amp | 1 | No
44 | Voltage monitoring relay 12V | 1 | No
45 | Switch auto of panel | 1 | No
46 | Relay timer | 1 | No
47 | AVS30 | 1 | No
48 | Battery charger | 1 | No
49 | Battery NS70 | 1 | No
50 | Battery NS200 | 1 | No
TOTAL PROVISIONAL COST
Total two year quaterly inspection
Total two year major service
SUBTOTAL FOR 2YEAR SERVICE AND INSPECTIONS
Add: Provisional Sum for spares
TOTAL
16% VAT
| GRAND TOTAL ESTIMATES (VAT INCL.) |  |  | KSH

## Sheet2
CATEGORY 1
ITEM | LOCATION | GENSET DESCRIPTION | QTY | UNIT COST PER VISIT IN KSH. VAT EXCL | TOTAL COST PER ONE YEAR IN KSH. VAT EXCL.(3 VISITS) | TOTAL COST FOR TWO YEARS IN KSH.VAT EXCL.
NORTH EASTERN REGION
1 | Thika Arcade | 110kva, Perkins Engine, | 1
| Inspection | Gen Set Model-MBW110
Serial No.-
Engine Model-RJ-51175
Serial No.-U486116T
WESTERN REGION
2 | E / House Kisumu | 150kva, Perkins Engine | 1
| Inspection | Gen Set Model-P150E
Serial No.-03622A/001
Engine Model-YD-50517
Serial No-U703584D
MT KENYA REGION
3 | Nyeri Stima | 110kva, Perkins engine | 1
| Inspection | Gen Set Model-MBW110
Serial No.-
Engine Model-RJ-51175
Serial No-U486114T
4 | Diana Center
|  | 80kva, Perkins Engine | 1
| Inspection | Gen set Model-MW580
Serial No.-PEE2527202
Engine Model- RS51277
Serial No.U564067W
5 | Embu Office
|  | 65kva, Perkins Engine | 1
| Inspection | Gen set Model-MW65
Serial No.-PEE2526908
Engine Model- DK51280
Serial No.U340752W
6 | Meru Office | 80kva, Perkins Engine | 1
| Inspection | Gen set Model-MW80
Serial No.-PEE2526978
Engine Model- RS51277
Serial No.U564165W
7 | Kiganjo Substation | 80kva, Perkins Engineer | 1
| Inspection | Gen set Model-P80P1
Serial No.-FGWPEPP6LGTS6697
Engine Model- RS51294
Serial No.U485432T
CENTRAL RIFT
8 | Nakuru E/ House | 170kva, Deutz Engine | 1
| Inspection | Gen set Model-MSW170
Serial No.-VEE2478533
Engine Model-BF6M1013EC DEUTZ
Serial No.10896826
NORTH RIFT REGION
9 | Lessos Control Center | 80kva, Perkins Engine | 1
| Inspection | Gen set Model-P80P1
Serial No.-FGWPEPP6HTS06703
Engine Model-RS51294
Serial No.485434T
NAIROBI NORTH REGION
10 | Electricity House | 500kva, Cummins engine | 1
| Inspection | Gen set Model-CUMMINS
Serial No.-X114120333
Engine Model-KTA19-G4
Serial No.41163887
11 | Stima Club | 100kva, Perkins Engine | 1
| Inspection | Gen set Model-MSW110
Serial No.-PEE2526968
Engine Model-RJ51175
Serial No.U564372W
COAST REGION
12 | Mombasa E/House | 500kva, Cummins Engine | 1
| Inspection | Gen set Model-CDC-500KVA
Serial No.-X114120301
Engine Model-KTA19-G4
Serial No.41166595
13 | Rabai Control Center | 80kva, Perkins
| Inspection | Gen set Model-P80P1
Serial No.-FGWPEPP6CGTS06705
Engine Model-RS51294
Serial No.4485433T
TOTAL COST (KSHS)VAT EXCLUSIVE
CATEGORY 2
Single Major Service to be Done After 200 Hours or 12 Months (1 Year) Whichever is Earlier
ITEM | LOCATION | GENSET DESCRIPTION | QTY | LABOUR | TRANSPORT | AIR FILTER | FUEL FILTER | OIL FILTER | WATER FILTER | ENGINE OIL | COOLANT | TOTAL FOR ONE YEAR | TOTAL FOR TWO YEARS
NORTH EASTERN REGION
1 | Thika Arcade | 100kva, Perkins Engine, | 1
| Major Service | Gen Set Model-MBW110
Serial No.-
Engine Model-RJ-51175
Serial No.-U486116T
Last service;4.12.2018
generator reading;954
WESTERN REGION
2 | E / House Kisumu | 150kva, Perkins Engine | 1
| Major Service | Gen Set Model-P150E
Serial No.-03622A/001
Engine Model-YD-50517
Serial No-U703584D
Last service;23.11.2018
generator reading;1927
MT KENYA REGION
3 | Nyeri Stima | 100kva, Perkins engine | 1
| Major Service | Gen Set Model-MBW110
Serial No.-
Engine Model-RJ-51175
Serial No-U486114T
Last service;6.12.2018
generator reading;1108
4 | Diana Center
|  | 80kva, Perkins Engine | 1
| Major Service | Gen set Model-MW580
Serial No.-PEE2527202
Engine Model- RS51277
Serial No.U564067W
Last service;6.12.2018
generator reading;474
5 | Embu Office
|  | 65kva, Perkins Engine | 1
| Major Service | Gen set Model-MW65
Serial No.-PEE2526908
Engine Model- DK51280
Serial No.U340752W
Last service;5.12.2018
generator reading;513
6 | Meru Office | 80kva, Perkins Engine | 1
| Major Service | Gen set Model-MW80
Serial No.-PEE2526978
Engine Model- RS51277
Serial No.U564165W
Last service;5.12.2018
generator reading;833
7 | Kiganjo Substation | 80kva, Perkins Engine | 1
| Major Service | Gen set Model-P80P1
Serial No.-FGWPEPP6LGTS6697
Engine Model- RS51294
Serial No.U485432T
Last service;6.12.2018
generator reading;201
CENTRAL RIFT
8 | Nakuru E/ House | 170kva, Deutz Engine | 1
| Major Service | Gen set Model-MSW170
Serial No.-VEE2478533
Engine Model-BF6M1013EC DEUTZ
Serial No.10896826
generator reading;677
Last service;11.12.2018
NORTH RIFT REGION
9 | Lessos Control Center | 80kva, Perkins Engine | 1
| Major Service | Gen set Model-P80P1
Serial No.-FGWPEPP6HTS06703
Engine Model-RS51294
Serial No.485434T
Last service;7.12.2018
generator reading;86
NAIROBI NORTH REGION
10 | Electricity House | 500kva, Cummins engine | 1
| Major Service | Gen set Model-CUMMINS
Serial No.-X114120333
Engine Model-KTA19-G4
Serial No.41163887
Last service;12.12.2018
generator reading;61
11 | Stima Club | 100kva, Perkins Engine | 1
| Major Service | Gen set Model-MSW110
Serial No.-PEE2526968
Engine Model-RJ51175
Serial No.U564372W
Last service;4.12.2018
generator reading;587
COAST REGION
12 | Mombasa E/House | 500kva, Cummins Engine | 1
| Major Service | Gen set Model-CDC-500KVA
Serial No.-X114120301
Engine Model-KTA19-G4
Serial No.41166595
Last service;14.12.2018
generator reading;520
13 | Rabai Control Center | 80kva, Perkins
| Major Service | Gen set Model-P80P1
Serial No.-FGWPEPP6CGTS06705
Engine Model-RS51294
Serial No.4485433T
Last service;17.12.2018
generator reading;111
| TOTAL COST (KSHS)VAT EXCLUSIVE | [11 empty] | 0
CATEGORY 3
LIST OF SPARES
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Electricity starter | 1 | No
2 | Thermostat seal | 1 | No
3 | Water temperature switch | 1 | No
4 | Thermostat | 1 | No
5 | Complete water pump | 1 | No
6 | Inlet valve | 1 | No
7 | Outlet valve | 1 | No
8 | Valve spring | 1 | No
9 | Fuel injector nozzle | 1 | No
10 | Fuel return gasket | 1 | No
11 | Injector seal | 1 | No
12 | Fan belt | 1 | No
13 | Top radiator hose | 1 | No
14 | Bottom radiator hose | 1 | No
15 | Piston rings set std | 1 | No
16 | Con rod bearing std | 1 | No
17 | Valve guide | 1 | No
18 | Rocker cover gasket | 1 | No
19 | Complete fuel injector | 1 | No
20 | Complete gasket set | 1 | No
21 | Oil pressure switch | 1 | No
22 | Pump, fuel feed | 1 | No
23 | Stop solenoid | 1 | No
24 | Oil pump | 1 | No
25 | Starting relay(solenoid) | 1 | No
26 | VALVE SEAL | 1 | No
27 | Inlet valve guide | 1 | No
28 | Outlet valve guide | 1 | No
29 | Fan, cooling | 1 | No
30 | ELEMENT SUB ASSY | 1 | No
31 | Starter Assy | 1 | No
32 | Solenoid &Nut set | 1 | No
33 | Switch Assay, thermo | 1 | No
34 | Switch, pressure | 1 | No
35 | ARMATURE SET | 1 | No
36 | Stator ASSY | 1 | No
37 | Radiator bracket | 1 | No
38 | Exaust replacement | 1 | No
39 | Rectifier bridge | 1 | No
40 | Relay 240 v-panel | 1 | No
41 | Contactor coil panel | 1 | No
42 | Electric card module | 1 | No
43 | relaye 12V-panel 70amp | 1 | No
44 | Voltage monitoring relay 12V | 1 | No
45 | Switch auto of panel | 1 | No
46 | Relay timer | 1 | No
47 | AVS30 | 1 | No
48 | Battery charger | 1 | No
49 | Battery NS70 | 1 | No
50 | Battery NS200 | 1 | No
TOTAL PROVISIONAL COST
Total two year quaterly inspection
Total two year major service
SUBTOTAL FOR 2YEAR SERVICE AND INSPECTIONS
Add: Provisional Sum for spares
TOTAL
16% VAT
GRAND TOTAL ESTIMATES (VAT INCL.)(KSH)