## Sheet1
PROPOSED RENONATIONS & REFURBISHMENT OF RUIRU GO-DOWN
ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS | CTS
ELEMENT 1 GO-DOWN
Demolisions
A | Remove existing double door and cart away from site | 4 | NO
B | Ditto but asbestos wall cladding and cart away to an approved site by KCC and NEMA and prepare for new work (M.S) | 788 | SM
C | Ditto but roof covering ditto | 948 | SM
D | Ditto but eaves cladding ditto | 60 | SM
E | Remove existing metal rainwater gutter complete with down pipes and cart away. | 108 | LM
NEW WORKS
F | 200mm blue stone wall extension to match existing | 926 | SM
G | 15mm plaster thick (1:3) C/S mortar finished with steel float trowel to ditto. | 926 | SM
H | Extra over walling for fair face with flush vertical and horizontal joints pointed to match existing | 926 | LM
J | Hardcore filling to fill up existing voids on the floor, well compacted mechanically to receive blinding. | 426 | CM
K | Allow for wall and concrete demolition to pave way for opening of the doors (M.S) |  | ITEM
Total carried to collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS | CTS
FLOORING (CONT'D)
A | 300 mm hardcore filling to make up levels under floors and allow for draining pipes underneath floor placed at stategic points to clients approval | 200 | CM
B | 50mm thick stone quarry dust blinding on hardcore | 630 | SM
C | 500 gauge Damp proof membrane | 630 | SM
D | BRC fabric mesh reinforcement No. A142 laid with approved laps at joints | 630 | SM
E | 150mm thick concrete floor slab | 630 | SM
F | Allow for keeping trenches free from ground water and allow for strutting |  | ITEM
G | Fabricate window size 2000x1500mm to match the existing complete with Burglar proofing. | 10 | NO
In-situ Polished Terrazzo Paving on concrete
H | 40mm thick paving with hardening additive | 730 | SM
J | 100x25mm. Skirting with coved junction to floor finish. | 172 | SM
K | 40x3mm thick plastic dividing strips set in terrazzo paving | 707 | LM
L | Remove broken glass in windows and prepare for new glazing (MS) | 160 | SM
Total carried to collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS | CTS
A | 5mm thick clear sheet glass and glazing to metal windows fixed with oil putty | 160 | SM
B | Purpose made metal burglar proofing to an approved design | 160 | SM
C | Prepare and apply two undercoats one finishing coat gloss paint to metal surfaces of the windows | 320 | SM
D | Ditto but to metal burglar proofing measured flat both sides | 320 | SM
E | Prepare and apply two undercoats one finishing coat gloss finish on metal surfaces as 1st quality (crown Burger) | 274 | SM
F | Prepare and apply three coats of first quality emulsion paint on wall surfaces | 2308 | SM
G | Prepare and apply two undercoats and one finishing coat as gloss to metal surfaces of rufters and trusses. | 200 | SM
H | 24 gauge IT4 pre-painted sheets in wall cladding | 788 | SM
J | Ditto in roof covering including eaves cladding | 1008 | SM
K | Ridge capping to match roof covering | 66 | LM
L | 200 × 200mm 16 gauge metal box gutter | 108 | LM
M | Extra over ditto for stopped ends, welded joints or rainwater outlets | 20 | NO
Total carried to collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS | CTS
A | 150 mm diameter 16 gauge metal box rainwater goods. | 75 | LM
B | Extra over ditto for shoe and rainwater outlet and also swan neck | 30 | NO
C | Allow for rehabilitation of the existing staircase and properly secured to clients satisfaction. |  | ITEM
D | Ditto but a sliding panel door overall size 6000x4500mm collapsible door. | 3 | NO
E | Allow for making good all other disturbed works |  | ITEM
STORE YARD AND ASSOCIATED DRAINAGE WORKS
F | Mass excavation to reduce levels not exceeding 1.5M deep from the existing ground level. | 7350 | CM
G | Load and cart away from site. | 7350 | CM
H | 300 mm thick hand packed hardcore filling and compacted to achieve 98% B.S compaction. In layers of 150mm thick | 7350 | CM
J | Return, fill and ram selected imported materials to make up levels 200mm thick. | 7350 | CM
K | 250mm thick compacted gravel sub-base | 7350 | CM
Total carried to collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS
DRAINAGE (CONT'D)
A | 250X125mm high splayed precast concrete kerbs bedded and jointed to cement sand (1:3) mortar including 125x100mm channel; 350x100mm thick mass concrete class15/15 in foundation and haunching at the back with all necessary formwork and excavations. | 969 | LM
B | Excavate trench for surface water drainage and cart away excavated materials. | 600 | LM
C | Concrete sides and base of channel including all necessary formwork in VRC (1:2:4) | 600 | LM
D | 300 mm wide metal grating with frame made in accordance with instructions. | 600 | LM
E | Allow for the construction of a road culvert of 12000mm long complete with headwall drainage concrete pipes of 450mm diameter done with concrete surround to prevent the pipes all as necessary. |  | ITEM
F | Allow for design and preparation of working drawings to be submitted to the client on approval by the County. |  | ITEM
G | Allow for fabrication of a canopy size 6000x2000mm made of stanchions size 100x100x3mm complete with wall plates,50x100x4mm gusset bolted to masonry wall 1200mm C/C complete with 75x50x3mm truss and purlins and 100x100mm flat cleats. |  | ITEM
Total carried to collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS
MISCELLANEOUS WORKS
A | Pull down all building structures behind store building, fill up voids with hardcore and make good the whole area |  | ITEM
B | 3M High Chainlink fence extension to enclose the area fixed in precast concrete post with top bend complete with Barbed wires as directed on site. | 1000 | LM
C | Allow for the design and construction of a toilet facility within the store building to cater for Gents ( 2No), Ladies(2No.) and 2No bathrooms. The works shall be deemed to including all the Plumbing, electrical, drainage, sewer connection supply and fixing of all sanitary fittings and signages to the approved standards. |  | ITEM
D | Allow for the establishment of plot beacons and facilitate for their approvals |  | ITEM
E | Allow for the electrical works which shall be deemed to include 4 No. 9 Metres High and towers with 4 No LED 100W flood light surface wiring in the warehouse, control panels/ main circuit breakers(MEM) , power point, cooker unit lighting points all in conformity to Kenya Power practice and that of IEE. |  | ITEM
F | Allow for planting flowers along the existing fence to staff quarters and landscaping. | 150 | LM
Total carried to collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS
Element 3
ACCESS TO STORE/WAREHOUSE
A | Mass excavation to reduce levels not exceeding 1.5M from the existing ground level | 1575 | CM
B | Load and cart away from site excavated materials | 1575 | CM
C | Return, fill and ram selected imported mateials to make up levels 200mm thick. | 1575 | CM
D | Ram and compact formation levels to achieve 100% B.S compaction and ready to receive sub-base, | 1575 | CM
E | 250mm thick compacted gravel sub-base | 1575 | CM
F | 200mm thick hand packed hardcore filling and compacted to achieve 98% B.S compaction. | 1575 | CM
G | 50mm thick sand laying course | 1050 | SM
H | 250x15mm high splayed precast concrete kerb bedded and jointed to cement sand (1:3) mortar including 125x100mm channel; 350x100mm thick mass concrete class 15/15 in foundation and haunching at the back, all necessary formwork and excavation. | 640 | LM
J | Allow for creating ventilation all through the go-down of size 4500x600mm complete with a grill made of 1 1/4'' x 6mm thick flat bar all as necessary to a height of 6M above the ground level. |  | ITEM
Total carried to collection
ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS
SUMMARY
Total to collection page 1
Total to collection page 2
Total to collection Page 3
Total to collection page 4
Total to collection page 5
Total to collection page 6
Total to collection page 7
Total
16% VAT
GRAND TOTAL VAT INCLUSIVE
Tender Sum in words (VAT inclusive) ………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….
Name of the contractor…………………………………………...…………………………………………………
……………………………………………………………………………………………………………………………….....
Stamp
Contract Period……………………………………..Weeks..............
Date……………………………………………………………………..